Documentation of Norwegian Polar Institute dataset for reading and processing of data from CRREL ice mass balance (IMB) buoys

Version 2

Evgenii Salganik, 20 March 2025

- Background

This dataset is based on the measurements from CRREL ice mass balance (IMB) buoys deployed in the Arctic Ocean during 1997–2015 and during 2019–2024. Buoys deployed in 1997–2015 measure ice surface and bottom elevation via two separate acoustic sounders and in-situ temperature of air, snow, ice, and water via a chain of thermistors with 10 cm vertical spacing. The original data is published at http://imb-crrel-dartmouth.org/archived-data/. The first version of processed data with estimates of snow and ice thickness and interface position is published by West (2020; doi:10.5281/zenodo.3773811). Here we describe the reprocessed dataset from West (2020). Buoys deployed in 2019–2024 measure ice surface and bottom elevation via two separate acoustic sounders and in-situ temperature of air, snow, ice, and water via a chain of thermistors with 2 cm vertical spacing. The original data is published at https://www.cryosphereinnovation.com/data. Here we provide estimates of snow and ice thickness, and interface of buoys deployed in 1997–2015 and 2019–2024.

- Overview

The original dataset from West (2020) includes estimates of snow and ice thicknesses from 99 SIMB3 buoys deployed during 1997–2015. The estimates are based on the measurements of surface and bottom interface temporal evolution from two acoustic sounders together with manual measurements of the initial ice and snow thickness. Here we analysed temperature data from the same buoys and manually classified them into three groups: (1) 29 buoys with comparable estimates of snow and ice thickness from acoustic sounders and thermistors; (2) 29 buoys with erroneous temperature data which cannot be converted into accurate snow and ice thickness estimates; (3) 41 buoys with substantial differences between snow thickness estimates from acoustic sounders and thermistors. Additional 27 buoys deployed in 2019–2024 are listed in group (4). Only buoys with data over 30 days within drifting ice were processed here.

| Buoy group description | Buoy IDs |
| --- | --- |
| 1. Substantially different estimates of snow and ice thicknesses from acoustic sounders (West, 2020) and from temperature | 1997E, 1997F, 2002A, 2003C, 2003E, 2004A, 2004B, 2004C, 2004D, 2004E, 2005E, 2005F, 2006B, 2006C, 2006D, 2006E, 2007C, 2007E, 2007H, 2007J, 2008B, 2008E, 2008F, 2009F, 2010B, 2010E, 2010G, 2011G, 2011I, 2011J, 2011K, 2011L, 2012H, 2012L, 2013E, 2013F, 2014B, 2014F, 2014G,2015A, 2015D |
| 2. Comparable estimates of snow and ice thicknesses from acoustic sounders (West, 2020) and from temperature | 2015B, 2015F, 2014C, 2014E, 2014I, 2013B, 2013C, 2013G, 2012B, 2012C, 2012D, 2012E, 2012J, 2011D, 2011E, 2011F, 2011M, 2010A, 2009A, 2008C, 2008D, 2007D, 2003D, 2001A, 2000A, 1997A, 1997C, 1997D, 1993A |
| 3. Temperature measurements do not allow to estimate snow and ice thicknesses | 2015C, 2012A, 2007I, 2015E, 2014D, 2013A, 2013D, 2013H, 2013I, 2012G, 2012I, 2012M, 2012M, 2011A, 2011C, 2011G, 2010H, 2009D, 2009E, 2007B, 2007F, 2007G, 2005A, 2005B, 2005C, 2005D, 2003A, 2000B, 1997B |
| 4. New buoys deployed in 2019–2024 | Dartmouth 2019 #1, Dartmouth 2021 #2, Dartmouth 2021 #3, Dartmouth 2021 #4, SIDEx 2021 #2, SIDEx 2021 #3, Dartmouth 2022 #6, Dartmouth 2022 #7, CRREL 2021 #5, Dartmouth 2021 #8, Dartmouth 2021 #9, Dartmouth 2021 #10, Dartmouth 2021 #11, ArcWatch SIMB3 2023E, ArcWatch SIMB3 2023C, ArcWatch SIMB3 2023D. SIMB3 2024B, SIMB3 2024D, SIMB3 2024E, SIMB3 2024F, SIMB3 2024G, SIMB3 2024H, SIMB3 2024I, SIMB3 2024R, SIMB3 2024S, SIMB3 2024U, SIMB3 2024W |

The updated estimates of interfaces and thicknesses are mainly based on the values from the vertical temperature gradients following this sequence:

- The interfaces are estimated from the relative difference in the vertical temperature gradients. Snow surface and lower interfaces are lower boundaries of the area with vertical temperature gradient at least two times larger than vertical temperature gradient within ice.

- After preliminary identification of interfaces, the interface estimates from acoustic sounders are adjusted by a constant value to fit the temperature-based interfaces for the time close to buoy deployment.

- If estimates from temperature and from acoustic sounders are within the thermistor spacing (0.1 m or 0.02 m), the estimates are not further processed.

- If there are substantial differences in position of at least one of the three interfaces, they are updated based on a combination of temperature and acoustic measurements.

The updated version of the interface and thickness estimates is published in the same format as in West (2020) with both original and updated values. The raw data from SIMB3 buoys deployed in 2019–2024 was processed and published identically to IMB buoys deployed in 1997–2015.

- Results and examples of reprocessing

An example of original and updated snow surface and bottom interfaces are shown in Fig. 1.

Figure 1. Vertical temperature profile at the time close to buoy deployment (left) and vertical temperature gradient evolution (right) for a selected buoy. Dashed and dashed-dotted represent surface and ice-snow interface locations for original (black) and updated (blue) datasets.

A comparison of original (West, 2020) and updated (this dataset) estimates of snow and ice thicknesses is show in Fig.2, with 0.30 m and 0.18 m average snow and 1.9 m and 2.1 m average ice thicknesses, respectively.

Figure 2. Histograms of estimates snow depth (left) and ice thickness (right) for all reprocessed buoy (N = 120x103).

The median snow thickness from buoys deployed in 2019–2024 was 0.11 m for deployment metadata from Cryosphere Innovation and 0.18 m from the estimates based on temperature data.

Figure 3. Snow depth (top) and ice thickness (bottom) for buoys deployed in 2019–2024 based on buoys metadata and on processed temperature data.

- The dataset

The updated dataset with the identical values of in-situ temperature, geographical location, time, as well as the original (West, 2020) and updated location of interfaces, as well as snow and ice thicknesses are published as NetCDF files in github.com/esalganik/SIMB3.

- References

West, A. E.: Arctic ice mass balance buoy data for use in calculating quantities to evaluate climate models, Version v1_april_2020, Zenodo, https://doi.org/10.5281/zenodo.3773811, 2020.

West, A., Collins, M., and Blockley, E.: Using Arctic ice mass balance buoys for evaluation of modelled ice energy fluxes, Geosci. Model Dev., 13, 4845–4868, https://doi.org/10.5194/gmd-13-4845-2020, 2020.

Perovich, D., Richter-Menge, J., and Polashenski, C.: Observing and understanding climate change: Monitoring the mass balance, motion, and thickness of Arctic sea ice, The CRREL-Dartmouth Mass Balance Buoy Program (Cold Regions Research and Engineering Laboratory, Thayer School of Engineering at Dartmouth), available at: http://imb-crrel-dartmouth.org/results/, last access: 20 March 2025.